## Fault Mapping
Faults | Fault Mapping to FSBrick
Cooling Coil Valve Stuck Open | Valve_Stuck (brick:Cooling_Valve)
Heating Coil Valve Stuck Closed | Valve_Stuck (brick:Heating_Valve)

## Fault Severity Mapping
Faults | Fault Severity Mapping to FSBrick
Cooling Coil Valve Stuck Open | hasSeverity; brick:Position with value Literal
Heating Coil Valve Stuck Closed | hasSeverity; brick:Position with value Literal

## Symptom Mapping
Symptoms | Symptom Mapping to FSBrick
Supply Air | hasSymptom; brick:Air_Temperature_Alarm; (brick:Supply_Air)